**AlumaView® AV175**

\*\* NOTE TO SPECIFIER \*\* Raynor; commercial sectional overhead doors.

This section is based on the products of Raynor, which is located at:  
1101 East River Rd. P. O. Box 448   
Dixon, IL 61021-0448  
Toll Free Tel: 800-4-RAYNOR  
Tel: 815-288-1431  
Fax: 888-598-4790  
Email: [request info (thegarage@raynor.com)](http://admin.arcat.com/users.pl?action=UserEmail&company=Raynor&coid=35092&rep=&fax=888-598-4790&message=RE:%20Spec%20Question%20(08360rgd):%20%20&mf=)  
Web: [www.raynor.com](http://www.raynor.com)   
 [ Click Here ] for additional information.

For more than 60 years, architects and construction specifiers have counted on Raynor for doors and electric operators that meet the harshest environment and application demands. For your convenience, additional Raynor commercial specifications and drawings can be downloaded from [www.raynor.com](http://www.raynor.com) .

Raynor has more than 800 professional installing distributors in the United States and throughout 54 nations around the world. They pride themselves in excellent product knowledge, installations and service after the sale. Earn CE units and receive valuable knowledge about commercial doors by participating in an AIA/CES course. If you would like a Raynor Representative to contact you about presenting an AIA/CES course to your company, fill out an online form at www.raynor.com, or contact us at 1-800-4-RAYNOR.

Refer to specifications in this section for the following types of Raynor Overhead Doors:  
Commercial Sectional Doors: TC200, ThermaSeal, SteelForm, AlumaView, and DesignForm, StyleForm.

1. PRODUCTS
   1. MANUFACTURERS
      1. Acceptable Manufacturer: Raynor, which is located at: 1101 East River Rd. P. O. Box 448 ; Dixon, IL 61021-0448; Toll Free Tel: 800-4-RAYNOR; Tel: 815-288-1431; Fax: 888-598-4790; Email: [request info (thegarage@raynor.com)](http://admin.arcat.com/users.pl?action=UserEmail&company=Raynor&coid=35092&rep=&fax=888-598-4790&message=RE:%20Spec%20Question%20(08360rgd):%20%20&mf=); Web: [www.raynor.com](http://www.raynor.com)

\*\* NOTE TO SPECIFIER \*\* Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

* 1. SECTIONAL RAIL AND STYLE ALUMINUM DOORS
     1. AlumaView as manufactured by Raynor Garage Doors:
        1. Doors:
           1. Operation:

\*\* NOTE TO SPECIFIER \*\* Delete door operation not required. There are restrictions on size of door for manual or hand chain operation.

Provide doors designed for manual operation.

Provide doors designed for hand chain operation.

Provide doors designed for electric motor operation.

* + - * 1. Jamb Construction:

\*\* NOTE TO SPECIFIER \*\* Delete jamb not required.

Steel jambs with self-tapping fasteners.

Wood jambs with lag screw fasteners.

Masonry jambs with anchor bolt fasteners.

* + - * 1. Structural Performance Requirements:

\*\* NOTE TO SPECIFIER \*\* Delete options for wind load performance not required.

Wind Load (Model AV 300 only): Florida Building Code Product Approval #FL16225 large missile impact.

Wind Load (Model AV 200 only): Florida Building Code Product Approval #FL15212 large missile impact.

Wind Load (Model AV 200 only): Florida Building Code Product Approval #FL114092 non-impact.

Wind Load: Florida Building Code Product Approval \_\_\_\_\_\_.

Wind Loads: Uniform pressure of: \_\_\_\_\_\_\_\_ psf.

* + - * 1. International Energy Conservation Code (IECC) Requirements:

Air Infiltration: Maximum air leakage of 0.4 cfm/ft2 is required. Testing shall be performed in accordance with DASMA 105 test procedure.

Raynor AV300 and AV200 provide an air leakage rating of 0.24 cfm/ft2 with optional IECC Compliance Package.

* + - 1. Sections:

\*\* NOTE TO SPECIFIER \*\* Delete door model AlumaView AV300, AlumaView AV200, or AlumaView AV175 if not required.

* + - * 1. AlumaView AV175:

Material: 1-3/4 inches (44mm) thick, 6063-T6 aluminum alloy stiles and rails joined together with 5/16 inch (8 mm) diameter screws. Aluminum panels 0.050 inch (1.3 mm) thick or glazing (when specified) fill the spaces between stiles and rails. Combined dimension of two adjoining intermediate meeting rails 3-1/4 inches (83 mm). Bottom rail and top rail height 5-3/16 inches (132 mm). End stiles 3-3/8 inches (86 mm) or 6-1/2 inches (165 mm) wide as determined by overall door width. Center stiles 1-7/16 inches (36 mm), 2 inches (51 mm), or 3-5/8 inches (92 mm) wide.

Finish: Aluminum frame extrusions and filler panels finish coated.

\*\* NOTE TO SPECIFIER \*\* Delete color not required.

Clear anodized finish.

Champagne anodized finish.

Light Bronze anodized finish.

Medium Bronze anodized finish.

Dark Bronze anodized finish.

Extra Dark Bronze anodized finish.

Black anodized finish.

ArmorBrite powdercoat finish.

American Douglas powdercoat finish.

American Maple powdercoat finish.

Cherry powdercoat finish.

Cherry With Flame powdercoat finish.

Colony Maple powdercoat finish.

Dark Walnut powdercoat finish.

European Cherry powdercoat finish.

Golden Oak powdercoat finish.

Knotty Pine powdercoat finish.

National Walnut powdercoat finish.

Oak powdercoat finish.

Oregon Douglas powdercoat finish.

Table Cherry powdercoat finish.

Teak powdercoat finish.

\*\* NOTE TO SPECIFIER \*\* Insert color below.

* + - * 1. Seals: Bottom of door to have flexible U-shaped vinyl seal retained in aluminum rail.

\*\* NOTE TO SPECIFIER \*\* Delete seals not required.

Bulb-type joint seal between sections.

Blade seal on top section to prevent airflow above header.

\*\* NOTE TO SPECIFIER \*\* Doors wider than 14 feet-2 inches (4318mm) may require reinforcing trusses that span across windows. Consult manufacturer for more information.

* + - * 1. Trussing: Doors designed to withstand specified windload. Deflection of door in horizontal position to be maximum of 1/120th of door width.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + - 1. Windows: Provide door sections with windows in lieu of 0.050 inch (1.3mm) aluminum filler panels. Locations to comply with door elevation drawings.

\*\* NOTE TO SPECIFIER \*\* Door sections are available glazed with insulating glass, non-insulating glass, acrylic or polycarbonate. Impact rated and non-impact rated types are available. Delete products not required.

* + - 1. Impact Rated Glazing: Provide as follows.
         1. 11/32 inch (8.7mm) Clear Impact Glass
         2. 11/32 inch (8.7mm) Tinted Bronze Impact Glass
         3. 11/32 inch (8.7mm) Tinted Gray Impact Glass
         4. 11/32 inch (8.7mm) Tinted Green Impact Glass
         5. 11/32 inch (8.7mm) White Interlayer Impact Glass
      2. Non-Impact Rated Glazing: Provide as follows:
         1. 1/8 inch (3.2mm) Clear Glass consisting of one pane of 1/8 inch (3.2mm) DSB non-insulated glass.
         2. 3/16 inch (4.8mm) Clear Glass consisting of one pane of 3/16 inch (4.8mm) non-insulated glass.
         3. 1/4 inch (6.4mm) Clear Glass consisting of one pane of 1/4 inch (6.4mm) non-insulated glass.
         4. 1/8 inch (3.2mm) Clear Tempered Glass consisting of one pane of 1/8 inch (3.2mm) non-insulated glass.
         5. 1/4 inch (6.4mm) Clear Tempered Glass consisting of one pane of 1/4 inch (6.4mm) non-insulated glass.
         6. 3/16 inch (4.88mm) Clear Tempered Glass consisting of one pane of 3/16 inch (4.88mm) non-insulated glass.
         7. 1/4 inch (6.4mm) Clear Laminated Glass consisting of one pane of 1/4 inch (6.4mm) non-insulated glass.
         8. 1/4 inch (6.4mm) Clear Wire Glass consisting of one pane of 1/4 inch (6.4mm) non-insulated glass.
         9. 1/8 inch (3.2mm) Tinted Glass consisting of one pane of 1/8 inch (3.2mm) non-insulated glass.
         10. 1/4 inch (6.4mm) Tinted Glass consisting of one pane of 1/4 inch (6.4mm) non-insulated glass.
         11. 1/8 inch (3.2mm) Tinted Tempered Glass consisting of one pane of 1/8 inch (3.2mm) non-insulated glass.
         12. 1/4 inch (6.4mm) Tinted Tempered Glass consisting of one pane of 1/4 inch (6.4mm) non-insulated glass.
         13. 1/2 inch (12.69mm) Insulated Clear Glass consisting of two panes of 1/8 inch (3.2mm) DSB insulated glass.
         14. 1/2 inch (12.69mm) Insulated Clear Tempered Glass consisting of two panes of 1/8 inch (3.2mm) Tempered insulated glass.
         15. 1/2 inch (12.69mm) Insulated Low E DSB Glass consisting of two panes of 1/8 inch (3.2mm) DSB insulated glass.
         16. 1/2 inch (12.69mm) Insulated Low E Tempered Glass consisting of two panes of 1/8 inch (3.2mm) Tempered insulated glass.
         17. 1/8 inch (3.2mm) Clear Acrylic consisting of one pane of 1/8 inch (3.2mm) Acrylic glazing.
         18. 1/8 inch (3.2mm) Clear Lexan consisting of one pane of 1/8 inch (3.2mm) Lexan glazing.
         19. 1/4 inch (6.4mm) Clear Acrylic consisting of one pane of 1/4 inch (6.4mm) Acrylic glazing.
         20. 1/4 inch (6.4mm) Clear Lexan consisting of one pane of 1/4 inch (6.4mm) Lexan glazing
      3. Mounting: Sections mounted in door opening using:

\*\* NOTE TO SPECIFIER \*\* Delete mounting not required.

* + - * 1. Between-Jamb Bracket Mounting: sections mounted between door jambs, seal against exterior perimeter seal installed along vertical and top horizontal edges of jambs.
        2. Lap Jamb Angle Mounting: section overlap door jambs by 1 inch (25 mm) on each side of door opening.
      1. Track:
         1. Material: Hot-dipped galvanized steel (ASTM A 653), fully adjustable for adequate sealing of door to jamb or weatherseal.
         2. Configuration Type:

\*\* NOTE TO SPECIFIER \*\* Delete configuration type not required.

Configuration Type: Normal Headroom.

Configuration Type: Low Headroom.

Configuration Type: Vertical Lift.

Configuration Type: Lift-Clearance.

Configuration Type: Incline.

Configuration Type: Contour.

* + - * 1. Track Size:

\*\* NOTE TO SPECIFIER \*\* Delete track size not required.

Size: 2 inches (51 mm).

Size: 3 inches (76 mm).

\*\* NOTE TO SPECIFIER \*\* Some restrictions apply based on Configuration Type and Size. The only mounting available on 3-inch lift-clearance is Floor-to-Shaft Angle-Mount. Refer to manufacturer's literature for other restrictions. Delete mounting not required.

* + - * 1. Mounting:

Bracket-Mount using adjustable track brackets for use on 2-inch track with wood jambs.

Floor-to-Header Angle-Mount consisting of continuous angle extending from the floor up to the door header for use with steel, wood, or masonry jambs. Continuous angle size not less than 2-5/16 inches by 4 inches by 3/32 inch (59 by 102 by 2.5 mm) on 2-inch track and 3-1/2 inches by 5 inches by 3/32 inches (89 by 127by 2.5 mm) on 3-inch track.

Floor-to-Shaft Angle-Mount consisting of continuous angle extending from the floor, past header, completely up to door shaft for use with steel, wood, or masonry jambs. Continuous angle size not less than 2-5/16 inches by 4 inches by 3/32 inch (59 by 102 by 2.5 mm) on 2-inch track and 3-1/2 inches by 5 inches by 3/32 inches (89 by 127by 2.5 mm) on 3-inch track.

4) QuikClip: Clip-Angle consisting of clip brackets pre-assembled   
 to continuous angle extending from the floor up to the door   
 header and continuous angle extending from the door header up   
 to the door shaft for use with steel, wood, or masonry jambs.   
 Continuous angle size not less than 2-5/16 inches by 1-1/4   
 inches by 3/32 inches (59 by 32 by 2.5 mm) on 2-inch track and   
 3-1/2 inches by 1-1/4 inches by 3/32 inches (89 by 32 by 2.5   
 mm) on 3-inch track.

* + - * 1. Finish:

\*\* NOTE TO SPECIFIER \*\* Delete finish not required.

Galvanized.

White Powdercoat.

* + - 1. Counterbalance:
         1. Counterbalance System: Provided with aircraft-type, galvanized steel lifting cables with minimum safety factor of 5. Torsion Springs consisting of heavy-duty oil-tempered wire torsion springs on a continuous ball-bearing cross-header shaft.

\*\* NOTE TO SPECIFIER \*\* Delete one of the following two paragraphs. For high cycle insert the required cycle life (15,000 - 200,000),

Spring Cycle Requirements: Standard 10,000 cycles.

Spring Cycle Requirements: High cycle: \_\_\_\_\_\_\_\_\_\_\_ cycles.

* + - 1. Hardware:
         1. Hinges and Brackets: Fabricated from galvanized steel.

\*\* NOTE TO SPECIFIER \*\* Delete track size not required.

* + - * 1. Track Rollers: 2 inches (50.8 mm) diameter consistent with track size, with hardened steel ball bearings.
        2. Track Rollers: 3 inches (76.2 mm) diameter consistent with track size, with hardened steel ball bearings.

\*\* NOTE TO SPECIFIER \*\* Door may be provided with perimeter seal for jambs. Delete if not required.

* + - * 1. Perimeter Seal: Provide complete weather stripping system to reduce air infiltration. Weather stripping shall be replaceable.

For bracket mounted doors provide climate seal or vinyl seal with aluminum retainer.

For angle mounted doors provide angle clip-on seal.

\*\* NOTE TO SPECIFIER \*\* Door may be provided with exterior or interior locking device. Retain or delete paragraph below to suit project.

* + - * 1. Furnish door system with locks: Exterior lock with five-pin tumbler cylinder, night latch and steel bar engaging track.
        2. Furnish door system with locks: Interior lock with dead bolt provided with hole to receive padlock provided by Owner.
      1. AlumaView Limited Warranty: Raynor warrants the door sections against defects in material and workmanship for five years from date of delivery to the original purchaser. Window components are warranted against defects in material and workmanship for three years from date of delivery to the original purchaser. Raynor warrants all hardware and spring components against defects in material and workmanship for one year (or cycle life of the springs) from date of delivery to the original purchaser. Additional Limited Warranty requirements in accordance with manufacturer’s full standard limited warranty documentation.